## Formulas
Sample ESTIMATES
Sample: | 10.406 | 9.48 | 9.554 | 10.456 | 10.045 | 10.171 | 10.174
Count | 7 |  | SUM | 70.286
Max. | 10.456 |  | PRODUCT | 10243498.2861
Min. | 9.48
[6 empty] | IQ3 | 10.29
MEAN | 10.0409 |  | MEAN | 10.0409 |  | MEDIAN | 10.171
Std. Deviation | 0.38556 |  | VARIANCE | 0.14866 |  | IQ1 | 9.7995
|  |  | SKEWNESS | -0.67996
Std. Error | 0.14573 |  | KURTOSIS | 1.8912
95% Conf. Interval | 0.35658
FUNCTIONS
Value: | -5
ABS (absolute value) | 5
SQRT (root) | 2.2361
SIMPLE CONDITIONAL test ( IF / THEN / ELSE ) |  |  |  |  | SIMPLE BI-CONDITIONAL test ( IF / THEN / ELSE IF / ELSE )
Value: | 5 |  |  |  | Value: | 5
Reference: | 0 |  |  |  | Reference: | 0
RESULT | Gratter than reference value |  |  |  | RESULT | Gratter than reference value

## Regression
Regression (P01)
X | Y |  |  | b1 | b0
0.015 | 0.0106 |  | b1 | 0.4431 | 0.0021382 | b0
0.03 | 0.0148 |  | SE(b1) | 0.014299 | 0.0011454 | SE(b0)
0.05 | 0.0223 |  | R² | 0.99585 | 0.0014641 | StdFit
0.075 | 0.0352 |  | SS_tot | 960.2124 | 4 | ndf
0.105 | 0.0496 |  | SS_regr | 0.0020583 | 8.5742e-06 | VarFit
0.135 | 0.062
Regression (P_1)
X | Y |  |  | b1
0.015 | 0.0106 |  | b1 | 0.46587 | 0
0.03 | 0.0148 |  | SE(b1) | 0.0091292 | #N/A
0.05 | 0.0223 |  | R² | 0.99808 | 0.0017913 | StdFit
0.075 | 0.0352 |  | SS_tot | 2604.1464 | 5 | ndf
0.105 | 0.0496 |  | SS_regr | 0.0083558 | 1.6043e-05 | VarFit
0.135 | 0.062
Regression (P012)
X | X² | Y |  |  | b2 | b1 | b0
0.015 | 0.000225 | 0.0106 |  | b2 | 0.41909 | 0.38056 | 0.0037226 | b0
0.03 | 0.0009 | 0.0148 |  | SE(b2) | 0.42489 | 0.065009 | 0.0019752 | SE(b0)
0.05 | 0.0025 | 0.0223 |  | R² | 0.99687 | 0.0014691 | #N/A | StdFit
0.075 | 0.005625 | 0.0352 |  | SS_tot | 477.3379 | 3 | #N/A | ndf
0.105 | 0.011025 | 0.0496 |  | SS_regr | 0.0020604 | 6.4746e-06 | #N/A | VarFit
0.135 | 0.018225 | 0.062

## Stat_TESTS
T1 – Student’s t-test
Critical values |  | P-values
alfa | 0.05 | TV | 2.02
ndf | 5 | ndf | 5
Unilateral | 2.5706 | Unilateral | 0.09937
Bilateral | 2.015 | Bilateral | 0.049685
T2 – Fisher-Snedcor F-test
Critical values |  | P-values
alfa | 0.05 | TV | 6.26
ndf1 | 5 | ndf1 | 5
ndf2 | 4 | ndf2 | 4
Unilateral | 6.2561 | Unilateral | 0.049948
Bilateral | 9.3645 | Bilateral | 0.099895
T3 – Chi-square test
Critical values |  | P-values
alfa | 0.05 | TV | 11.07
ndf | 5 | ndf | 5
Unilateral | 11.0705 | Unilateral | 0.05001
Bilateral | 12.8325 | Bilateral | 0.10002
Note on A4: Significance level
Note on A5: Number of degrees of freedom
Note on A6: One-tail test
Note on A7: Two-tail test
Note on A14: Significance level
Note on A15: Numerator number of degrees of Freedom
Note on A16: Denominator number of degrees of freadom
Note on A17: One-tail test
Note on A18: Two-tail test
Note on A25: Significance level
Note on A26: Number of degrees of freedom
Note on A27: One-tail test
Note on A28: Two-tail test
Note on D4: Test Value result
Note on D5: Number of degrees of freedom
Note on D6: One-tail test
Note on D7: Two-tail test
Note on D14: Test Value result
Note on D15: Numerator number of degrees of Freedom
Note on D16: Denominator number of degrees of freadom
Note on D17: One-tail test
Note on D18: Two-tail test
Note on D25: Test Value result
Note on D26: Number of degrees of freedom
Note on D27: One-tail test
Note on D28: Two-tail test

## Stat_TABLES
T1 – Grubbs’ test critical values
n | G(0.05) | G(0.01) | n | G(0.05) | G(0.01) | n | G(0.05) | G(0.01)
3 | 1.154 | 1.155 | 15 | 2.548 | 2.806 | 80 | 3.306 | 3.673
4 | 1.481 | 1.496 | 16 | 2.586 | 2.852 | 90 | 3.348 | 3.716
5 | 1.715 | 1.764 | 17 | 2.62 | 2.894 | 100 | 3.384 | 3.754
6 | 1.887 | 1.973 | 18 | 2.652 | 2.933 | 120 | 3.445 | 3.817
7 | 2.02 | 2.139 | 19 | 2.681 | 2.968 | 140 | 3.495 | 3.867
8 | 2.127 | 2.274 | 20 | 2.708 | 3.001 | 160 | 3.537 | 3.91
9 | 2.215 | 2.387 | 25 | 2.822 | 3.135 | 180 | 3.574 | 3.946
10 | 2.29 | 2.482 | 30 | 2.909 | 3.236 | 200 | 3.606 | 3.978
11 | 2.355 | 2.564 | 40 | 3.036 | 3.381 | 300 | 3.724 | 4.094
12 | 2.412 | 2.636 | 50 | 3.128 | 3.483 | 400 | 3.803 | 4.171
13 | 2.462 | 2.699 | 60 | 3.2 | 3.56 | 500 | 3.863 | 4.228
14 | 2.507 | 2.755 | 70 | 3.258 | 3.622 | 600 | 3.911 | 4.274

## Part1
T1 – Testing for Normality
10.406 | 9.48 | 9.554 | 10.456 | 10.045 | 10.171 | 10.174 | 9.661 | 10.316 | 10.374
10.204 | 9.213 | 9.647 | 9.152 | 9.698 | 10.284 | 10.729 | 9.611 | 9.728 | 10.4
9.228 | 9.706 | 9.797 | 10.712 | 10.059 | 9.457 | 9.578 | 9.582 | 10.316 | 9.861
9.393 | 10.405 | 10.807 | 10.326 | 9.209 | 10.002 | 9.861 | 8.552 | 10.261 | 8.92
10.53 | 10.573 | 10.383 | 10.674 | 9.797 | 9.469 | 9.982 | 10.151 | 9.793 | 10.527
T2 – Analysts results (A1 and A2)
A1 | 22.8 | 22.75 | 23.05 | 22.72 | 22.7
A2 | 23.25 | 22.9 | 22.85 | 22.92 | 22.87
T3 – Comparing results
E1 | 16.02 | 31.21 | 9.1 | 47.66 | 31.4 | 25.95 | 14.61 | 30.95 | 27.6 | 49.55
E2 | 14.16 | 29.58 | 7.51 | 46.24 | 30.39 | 24.04 | 12.71 | 29.71 | 25.78 | 48.23
T4 – Experimental design
Exp. | F1 | F2 | F3 | Rep1 | Rep2
E1 | -1 | -1 | -1 | 0.065 | 0.062
E2 | -1 | -1 | 1 | 0.065 | 0.067
E3 | -1 | 1 | -1 | 0.068 | 0.066
E4 | -1 | 1 | 1 | 0.073 | 0.071
E5 | 1 | -1 | -1 | 0.064 | 0.067
E6 | 1 | -1 | 1 | 0.065 | 0.062
E7 | 1 | 1 | -1 | 0.065 | 0.063
E8 | 1 | 1 | 1 | 0.066 | 0.068

## Part2
T1 – Calibration curve (C0 = 5.018 ppm, Vfinal = 5.00 mL; m = 6)
Vi ( µL ) | 0 | 100 | 200 | 300 | 400 | 500 | 600 | 700 | 800 | 900 | 1000 | 1200
Ci ( ppm ) | 0 | 0.1004 | 0.2007 | 0.3011 | 0.4014 | 0.5018 | 0.6022 | 0.7025 | 0.8029 | 0.9032 | 1.0036 | 1.2043
Yi | -0.001 | 0.0063 | 0.015 | 0.0235 | 0.0322 | 0.0403 | 0.0482 | 0.057 | 0.0658 | 0.0739 | 0.082 | 0.0863
s(Yi) | 0.0015 | 0.002 | 0.0022 | 0.002 | 0.0024 | 0.0028 | 0.0027 | 0.003 | 0.0031 | 0.0035 | 0.0038 | 0.0043
T2 – Sample quantification (dilution: 500 µL in 5.00 mL).
A1 | 0.032 | 0.029 | 0.032 | 0.034 | 0.032 | 0.031
A2 | 0.07 | 0.068 | 0.065 | 0.073 | 0.075 | 0.07
A3 | 0.053 | 0.058 | 0.05 | 0.051 | 0.053 | 0.055
CRM | 0.073 | 0.078 | 0.071 | 0.072 | 0.074 | 0.071 |  | CRM = 8.91 (±0.12 ppm) [NID; CI(95%)]
T3 – Recovery test
Vad (µL) | %RI_1 | %RI_2 | %RI_3 | %RI_4
100 | 98.2 | 95.7 | 97.1 | 96.3
500 | 101.1 | 99.8 | 89.1 | 99.5
900 | 102.8 | 99.8 | 99.1 | 97.9
T4 – Robustness
Exp. | T (ºC) | pH | CaCl2 | Rep1 | Rep2
E1 | 20 | 4.2 | 5 | 0.065 | 0.062
E2 | 20 | 4.2 | 20 | 0.064 | 0.066
E3 | 20 | 7.1 | 5 | 0.065 | 0.066
E4 | 20 | 7.1 | 20 | 0.058 | 0.061
E5 | 35 | 4.2 | 5 | 0.064 | 0.067
E6 | 35 | 4.2 | 20 | 0.065 | 0.062
E7 | 35 | 7.1 | 5 | 0.061 | 0.063
E8 | 35 | 7.1 | 20 | 0.065 | 0.062